| ‘CLIENT LOGO’ |  | WET WORK PERMIT |
| --- | --- | --- |
| This Wet Work Permit is required for any work activity resulting in the potential for escaped liquids from piping systems, liquid carrying devices, appliances, or mechanical equipment to cause damage to the building or structure. This includes renovation or construction projects, and routine inspection, testing, and maintenance activities. |  |  |
| Supervisor: - Verify precautions listed right before issuing permit and proceed with the work - Complete the entire form and post at work location - Retain copy for duration of project - Issues to only authorized person Hot work being done by: Employee__________________________ Contractor__________________________ | General Precautions - Heating is maintained in working order or temperatures are maintained above freezing - Spill kits are provided in the work area and contain necessary equipment - The water damage mitigation plan has been reviewed - Authorized people are familiar with location and operations of all fire protection and domestic water shut off valves in the area work is being performed. Physical precautions - Floor penetrations or cracks through which water may pass and damage below areas are sealed. - Susceptible materials near the work area are protected to prevent water damage. - Electrical and other sensitive equipment near the work area is protected from potential water damage. - All trains in the area of the work being performed under this permit are functional. Water Watch - Water watches will be provided for 30 minutes after work - The viewer is trained in the response procedures in place in the event of a leak or accidental water discharge, - Watcher is familiar with operation and location of shut off valve necessary to quickly shut off valves in the event of leakage, pipe burst, or escaped liquids event Other Precautions taken: ___NO - was not necessary. ___YES - describe |  |
| Location and Floor: |  |  |
| Nature of Job: |  |  |
| I verify the above location has been examined, the precautions checked on the Required Precautions Checklist have been taken to prevent water damage, and permission is authorized for this work. |  |  |
| Issues By (Signature of Supervisor): |  |  |
| Date and Time Issued: |  |  |
| Verified Complete (Signature of Supervisor): |  |  |
| Date and Time Completed: |  |  |